## AC Reactor
Input / Output AC Reactor Sizing
Select the AC reactor (line / motor reactor) from motor current and system voltage.
Parameter | Value | Unit | Note
Motor Rated Current (I) | 28 | A | Nameplate FLC
System Voltage (V) | 380 | V | Line voltage
Safety Factor | 1.2 |  | 1.1–1.5 typical
Reactor Rated Current (In) |  | A | Nearest standard reactor current ≥ this value
Inductance Estimate (L) |  | mH | Line-reactor inductance for ~1–2% impedance (50Hz)